[image: image1.png]


Engineering & Planning Department
33 Allegiance Circle  Evanston, WY 82930 

 Telephone (307) 783-6470

www.evanstonwy.org 

                                        

Decks
Building Permits are required for new decks or extensions to existing decks (height adjustments are included as extensions)- https://portal.iworq.net/EVANSTON/new-request/700/3310
A deck attached to the home is considered part of the home structure.  Footer depths must meet the frost depth criteria of 54”.
Setback requirements for applicable zoning districts must be met.

Decks 30 inches or less in height may encroach into the setback area and do not require guard railing.

Decks more than 30 inches in height cannot encroach into the setback area and require guard railing.

Complete construction plans must be submitted with the building permit in accordance with the current IBC code.

Site Plans/Plot Plans must be submitted with the building permit.  

[image: image2.png]EvVanston




C:\Users\dworley\Downloads\Decks (2).doc

